STRUCTURAL INSPECTION

Date:
December 23, 2005

Type:
Primary residence

RE:
Post Hurricane Katrina Structural Inspection

Structure:
Wood frame, concrete slab foundation, Texture 111 siding, composition roof
Owner(s): 
Shirley Ciruti

1433 Cherry

Slidell, La



985-641-1832

History:

Mrs. Ciruti contacted Dammon Engineering to perform a structural inspection on the above residence.  Her concern is with the overall structural condition of the home after a tree fell on it.

Findings:

During a visual inspection of the home, the following was noted:

1. A tree fell on the rear of the house above the bathroom window.

2. The three CMU cinder block piers below the bathroom are leaning out at the point of impact.

3. The bottom board of the siding was bowed out from the piers pushing against them, as the walls in the area of the tree damage were impacted by the blow.
4. Three windows on the rear of the house do not open or close properly.

5. The front door, closet doors and bedroom doors on the north side of the house do not open or close properly.

Analysis

1. The tree that fell on the home added sufficient weight to force the CMU block piers into the ground causing the home to be out of level.  This would also account for the doors and windows not operating properly.
2. The home should be jacked up, the piers should be straightened and the home leveled.

Conclusion:

It is my professional opinion that this home is repairable.  This dwelling is structurally sound and it will be in good condition after the repairs have been completed. 

Additional Notes:

If the cost to repair the residence reaches fifty five percent of the cost to rebuild a new home, then the home should be rebuilt, particularly if it does not meet the current FEMA flood elevation.

When work is being accomplished to rebuild the structure, fastenings and nail patterns should meet the new International Building Code requirements for that work.

Information homeowners should know about flood damaged walls and floors, or those damaged by water entry from rain, etc.

The wood stud walls will need to be dried out prior to covering with new wallboard.  In order to dry out the wood studs, one side of the wall will need to be removed and allow sufficient drying time to occur.  Mold remediation should occur as soon as possible.  The American Wood Council states that wood needs to dry out to less than 19% moisture content prior to enclosing wood studs, otherwise the structural integrity could be compromised and mold growth could occur.  Contractors should not re-install wallboard until the moisture content in the stud wall is below 19%.  Houses built using thicker wood products should expect longer dry out times.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


