Structural Inspection

November 30, 2005

RE:
Post-Katrina Structural Inspection

Owner(s):
Mr. & Mrs. Richard Kelly
Address:
15 Treasure Isle



Slidell, LA  70458

History:

The Kelly residence, along with approximately 55 other homes, was located on the peninsula of land jutting into Lake Pontchartrain, known as Treasure Isle.

All but a very few of the homes were completely demolished and taken away to complete oblivion during the storm known as Hurricane Katrina, most of the remaining are not suitable to be rebuilt.
Findings:

Kelly Property – 

1. Approximately 40 of these homes were raised so that the main floor was at or above elevation 16’ NGVD, while approximately 15 homes were at or about elevation 7 NGVD.  These are generally 30 years old or older.
2. Mr. Kelly has a one story home and a one story shop, both located on the lake side of Treasure Isle Drive.  Additionally, he had a boat house on the east side of the same road.  Only the foundations and an elevated driveway leading to the house foundation remind one that a house and shop existed there before Katrina.

Nearby Property – 

1. Two dwellings to the south of the Kelly’s property are still standing, but gutted.  These are both raised houses, one with steel framework and one with wood.  Even though both had their main floors at or above the flood level, they were both ravaged above the flood level, and require demolition.  These were somewhat protected by many more trees than other areas on the peninsula.

2. Out of approximately 55 homes on Treasure Isle that were existing prior to the storm, only ten or so remain, and perhaps only one of these is worth rebuilding.

3. Many of these homes had their main living floor at or above sixteen ft. NGVD, and as such this part of their homes that were built on columns was above the water level of the flood.  Another 15 or so homes such as the Kelly house, ahd their first living area at approximately elevation 7.
4. Lakeshore Estates, just northwest of Treasure Isle, suffered flooding, but their homes were not destroyed.

5. One homeowner from Treasure Isle reported that when he first arrived after the storm, the roof of his house was seen floating in Lake Pontchartrain, indicative of tornadic winds blowing these structures into the lake, before most of the debris being washed in shore.

Analysis:

Hurricane force winds ripped the Rigolets/Treasure Isle area before dawn on Monday, August 29, 2005, prior to the flood that ensued after daylight.  The western part of the eye of the hurricane passed over the Rigolets and Treasure Isle probably between daylight and 8:00 a.m.  These winds out of the east and northeast were gusting and causing roofs and whole houses to shutter under relentless wind pressures of from 30 psf to 45 psf, during the pre-dawn and early morning hours.  These gusting wind speeds caused variable wind pressures that were capable of shaking and dismantling the house, long before flooding arrived, the flood peaking between 7:30 a.m and 8:00 a.m on Monday according to an eyewitness in Rigolets Estates, approximately ¼ mile away.  Wind direction during this period was first out of the east and northeast prior to the eye passing and then the northwest and west-northwest following the eye passing.

Winds on Lake Pontchartrain are confirmed by the Louisiana State Office of Climatology to have reached 130 mph with gusts well over that speed.  With this, variable forces of over 20,000 lbs. acted on the walls, windows, doors, etc., having the capability of shaking the building apart.

This house was exposed to flood waters and tidal surges in previous hurricanes, as were many of the buildings on Treasure Isle.  Hurricane Isidor, with its similar flood characteristics, did no structural damage to this house.  Hurricane surge waters had reached the shallow marshes and Lake Borgne long before reaching this area, and surges that were seen along the Mississippi Coast did not happen here, as they had been dampened by traveling across long stretches of these shallow areas, and were being dampened and blown to New Orleans and Chalmette by the winds out of the northeast.

Again, the fifteen homes on the peninsula that were single story, faired the same as the two and three story buildings, and many of the taller buildings had columns and breakaway walls to guard against water surge.  There is only one answer – the wind did the major damage, and the water carried off the remnants.

Reports from people who rode out the hurricane in Rigolets Estates, Fort Pike, Irish Bayou, Lakeview Drive, Carr Drive and on Bayou Liberty, all attest to the fact that there was no great surge or wall of water that would have pushed over buildings, but instead a fast rising tide in all these locations, that followed the relentless wind.  These people also reported that the flood water did not reach 16 feet above sea level, and that they saw roofs and other parts of buildings, boat houses, etc., fly by them in their respective locations.

Conclusion:

It is my professional opinion that this house was wrecked and demolished by punishing winds that worked on the walls, roof, windows, and doors that were not constructed to present day standards for standing up to the high winds.  The loss was caused by the forces of the winds, prior to the maximum flood water moving in.  The house probably went into Lake Pontchartrain, but loose parts then were pushed inland by the flooding.

When the higher flood waters came, they were moving fast and moved the remnants far inland, where most of the identifiable objects from Treasure Isle were found in the vicinity of Apple Pie Ridge, approximately three miles northeast of Treasure Isle.

Eyewitnesses:

1.
Mr. Leonard Brown – Rigolets Estates


Marlin Drive @ Moray Drive

Rigolets Estates

Slidell, Louisiana

2. Joe Perez

(Volunteer Fire Department)

St. Nicholas Church

Lake Catherine Hwy 90

New Orleans, Louisiana

3.
Kennard Jackley (video)


265 Carr Drive


Slidell, Louisiana

4.
Emmett G. (Pete) Dammon


34487 Torregano Rd. (Bayou Liberty)


Slidell, Louisiana

5.
Jimmy Ray Lemoine


Irish Bayou


New Orleans, Louisiana

6.
Grant Geiger

Carr Drive


Slidell, Louisiana

Sincerely,

Emmett G. (Pete) Dammon, P.E.
Attachments:
1.  Maps of affected areas west of center



2.  Hurricane Katrina/Lake Pontchartrain Synopsis


[image: image2.jpg]< MAPQUEST. = !

Wit Kifchen

CAR & j 9Nerlh Shore

KNE . g
& LA i&?h‘d‘.’ﬂf Howze Basch Fritchie Marsh
{w) R o
A@‘; 4 =alt Bayoy
LAKE
ORE~
éa%mr%i
"{ﬁ:—mu@ej
15185
Rieorets
E. ﬁ'{ P\‘E@‘g C_Hkl Fort
© 2005 MapQuest.cam, Inz, D205 NAYTER
Smi
_Samnt Tammany Corner Santa Resa Gﬁ
ht Kiln
_Bamnt Tammany Hickogy @
Maude vl River @a
Mﬂ _Gamesville
Amas Riwer %

(23}
~ '.v_> J‘
< No 0o 7""_‘WSV§ g
Bnnl:? (‘ansldc Park
Lakeshara
< G ;
TORR e, / Ansley
’ 2ol Hasksan Landing

o
sntehartrain B
CARR, vn.\\;;j/

{ﬁ

& 2005 MapQuest.com, Ing ; & 2005 Tele Atlas





[image: image1]