
[image: image4.png]Dammon Engineering, Inc.
(985) 641-5950 Fax (985) 649-5832 dammoneng/@bellsouth net

1095 Florida Ave
Slidell, LA 70458

BILL TO:

Mr. Chris Keating |
924 Tidewater Drive 1
Slidell, LA 70458 :

RE: 150 Moonraker Drive

DESCRIPTION

Invoice

11/28/2005 4430

DATE [ INVOICE# '

AMOUNT

Structural Insgection and Report for Above Referenced Property

400.00

j Tﬂank You.

Total $400.00






[image: image2]
[image: image1][image: image3.png]DAMMON ENGINEERING, INC.

dammonengineering.com

ENGINEERS ARCHITECTS
CONSULTING DESIGN STUDIES EXPERT WITNESS
1095 Florida Ave. P.O. Box 2830 985-649-5832
Stidell, LA 70458 Slidell, LA 70459 FAX 985-641-5950
STRUCTURAL INSPECTION

Date: November 10, 20035

Type: Residential
RE: Post Hurricane Katrina Structural Inspection

Materials: Brick veneer/wood frame/composition shingles
Owner(s): Mr. Chris Keating Property: 150 Moonraker Drive
924 Tidewater Drive Eden Isles
Slidell, LA 70458 Slidell, LA 70458
History:

Mr. Roy Stubenrauch, General Contractor, was performing post-Katrina gutting of the dwelling, when he
saw that the bottom six inches of the sheathing material {(black board) on the exterior wall behind the brick
veneer had rotted. He asked that I investigatc what was happening and the proper method to repair the black
board.

Findings:
Mr. Keating pointed out the areas where the black board is rotting at the bottom.

Analysis:

The brick veneer exterior prevents getting to the black board from the outside. Methods used to make repairs
from the inside are for very small areas only, and all of this house requires replacing the black board at its
bottom 12”. The only way to properly accomplish this is to remove the brick veneer, cut and install new
black board, and install new or cleaned brick.

Conclusion:
It is my professional opinion that the brick vencer must be removed and the system installed correctly.

Sincerely,

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building. it does not cover, nor attempts to cover, any
components, items, and/or conditions which, by their rature or location, are concealed or are difficult or hazardous o inspest, or which require the moving
of furniture, flooring materials, rugs, fixtures, appliances, or any compenent-part nailed, bolted, or screwed down or shut. No opinions are expressed
regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under
unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God. Specific
hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, ashestos, soll, environmental, radon, carbon monoxide,
formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantes of the property inspected, but it is our opinion of its condition at the time inspected. Qur liability shal be fimited to
reimbursement of the total cost of inspection.




