chuck

STRUCTURAL INSPECTION

Date:
October 26, 2005

Type:
Secondary residence

RE:
Post-Hurricane Katrina Structural Inspection

Structure:
Wood/frame brick

Owner: 
Marilee Pye

Property: 
2415-17 General Pershing



NOLA, La. 

History:

Mrs. Pye contacted Dammon Engineering to perform a structural inspection on the above residence.  She was concerned about damage to the structure of the home after Hurricane Katrina’s high winds, which caused floodwater and rain damage.
Findings:

After a visual inspection of the 1st floor basement, the following was noted:

A) The area’s that were affected by the floodwaters (electrical, plumbing) will need to be replaced.

B) The bricks and concrete areas that support the home that were damaged by floodwaters should also be repaired. After a visual inspection of the 2nd floor structure, the following was noted:

A) Water stains in the foyer, kitchen, living room and dining room ceiling and walls.

B) Several windows are broken on the sides and rear of the home. The window in the rear

      Bathroom is displaced.

C) The front porch is wood frame and is loose from the decking.

D) The right rear bedroom floor is not level. After a visual inspection of the 3rd floor structure, the following was noted:

A) The stairwell entrance leading to the 3rd floor, the left sidewall sheetrock has blown out an area approx. a 4x4.

B) Top of hall stairwell sheetrock blown out approximately 1 foot from ceiling.  

C) The kitchen sheetrock wall in Apt 1 has area’s that appear to be blown out. This is noticeable in the ceiling and cabinets around the kitchen plumbing.

D) Water stains in apt 1 and 3 kitchens, apt. 3 living room, apt 1&3 bedrooms and bathroom ceilings and walls in apt 2,3.

E) Several rooms on the 3rd floor were noted to have cracked sheetrock in all the apts.

F) Several windows on the 3rd floor were broken from the high winds in apts 1 & 3 and the hall.

G)  The right rear bedroom floor is not level.

H) The roof suffered damage also, approximately 2 bundles on the front and left side of the home.   

Analysis:

1. The areas of the stairwell and kitchen sheetrock that was blown out appeared to have been caused by a downburst/tornado.

2. Replacement of the roof and repairs to the supporting structure should be accomplished as soon as possible to prevent further damage caused by rain (see additional notes below).

3. The sheetrock that was damaged by water should be removed, along with the insulation surrounding the area (see additional notes below).

4. Leveling and repairs to the wood beams and brick/concrete piers in the basement should be accomplished as soon as possible to prevent further damage to the home. 

Conclusion:

It is my professional opinion that once repairs to the items listed above are accomplished, this dwelling will be structurally sound.

Additional Notes:

When work is being accomplished to rebuild the structure, fastenings and nail patterns should meet the new International Code requirements for that work.

Information homeowners should know about flood damaged walls and floors, or those damaged by water entry from rain, etc.

The wood stud walls will need to be dried out prior to covering with new wallboard.  In order to dry out the wood studs, one side of the wall will need to be removed and allow sufficient drying time to occur.  Mold remediation should occur as soon as possible.  The American Wood Council states that wood needs to dry out to less than 19% moisture content prior to enclosing wood studs, otherwise the structural integrity could be compromised and mold growth could occur.  Contractors should not re-install wallboard until the moisture content in the stud wall is below 19%.  Houses built using thicker wood products should expect longer dry out times.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


