STRUCTURAL INSPECTION

Date:
March 2, 2006
Type:
Residential property
RE:
Post Hurricane Katrina Structural Inspection

Structure:
Single story wood frame, on wood pilings/ shingle roof / vinyl siding
Owner(s): 
Anthony Boackle


24627 Chef Hwy.
Lake Catherine

New Orleans, LA
C 504-554-3650
History:

Mr. Boackle contacted Dammon Engineering to perform a structural inspection on the referenced residence.  He was concerned about the destruction of his home. The home was 50+ years old.. The pilings are four feet tall and the floor beams were 2x12 inches. The owner stated that the home was approximately 1000 SQ Ft.
Findings:

During a visual inspection of the home, the following was noted:

1. There is no home remaining on the property..
2. The pilings and concrete surrounding the pilings were in disarray.
3. The home faced east south east.

Surrounding Structures:
98% of the homes along the Chef Menteur Hwy near Lake Catherine were completely destroyed with no remaining structure.

The homes that with stood the extremely high winds of hurricane Katrina were damaged heavily on the north side. The church directly across the hwy from the residence was gutted on all exterior and interior walls leaving only the metal structure.
Analysis:

1. Investigation of how the hurricane acted on this and other homes on the Chef Menteur Highway near Lake Catherine incorporates testimony from persons who rode out the storm no more than three miles from this dwelling, and by others, including myself, who rode out the storm in Rigolets, Slidell, as well as videos of the storm in progress taken on Carr Drive in Slidell.

2. The storm flood water was at elevation 12 to 13 in this area of Chef Hwy, as indicated by the FEMA Inundation Map.  This occurred much later in the morning of the 29th.
3. This dwelling was approximately 50 years old and only built to withstand the winds called for in the building codes of the 1950’s, which were no match for the wind that would have torn the house apart, long before the water rose some six hours later.
General:

Hurricane force winds ripped the Chef Menteur Highway near Lake Catherine area before dawn on Monday, September 29, 2005, several hours prior to the flood that ensued that morning.  The western part of the eye of the hurricane passed over the Chef Menteur Highway near Lake Catherine the Rigolets and Treasure Isle probably around 8:00 a.m.  These winds were gusting and causing roofs and whole houses to shutter under relentless surge pressures of from 30 psi to 45 psi, during the pre-dawn and early morning hours.  This wind speed and pressure caused variable wind pressures that were capable of shaking and dismantling the house, long before flooding arrived, the flood peaking on Monday morning.  Wind direction during this period was out of the east and northeast prior to the eye passing and then the northwest and west-northwest following the eye passing.

Winds on Lake Pontchartrain are said to have reached 130 mph with gusts well over that speed.  Forces that reached 23,000ft lbs acted on the pilings and the attachments to the wood beams supporting the floors.

The water then came with its pressures that are associated with a 10 mile per hour and several feet deep moving tide, and washed away the evidence, leaving bare columns standing.
Water had started to rise and was at about 5 feet above normal, soon after daylight

Reports from people who rode out the hurricane in Rigolets Estates, Fort Pike, Irish Bayou, Lakeview Drive and on Bayou Liberty, all attest to the fact that there was no great surge or wall of water that would have pushed over buildings, but instead a fast rising tide in all these locations.

Conclusion:

It is my professional opinion based on eyewitness reports of the several references listed below as having been eyewitness, and my own observations during the storm, that this home was destroyed prior to the major flooding that occurred during the hurricane, and that the wind tore the house from its support columns after subjecting it to such wind pressures that were above those called for in the design of buildings prior to the requirements of the International Code for Construction of dwellings.

Eyewitnesses:

1.
Mr. Leonard Brown – Rigolets Estates


Marlin Drive @ Moray Drive

Rigolets Estates

Slidell, Louisiana

2. Joe Perez

(Volunteer Fire Department)

St. Nicholas Church

Lake Catherine Hwy 90

New Orleans, Louisiana

3.
Kennard Jackley (video)


265 Carr Drive


Slidell, Louisiana

4.
Emmett G. (Pete) Dammon


34487 Torregano Rd. (Bayou Liberty)


Slidell, Louisiana

5.
Jimmy Ray Lemoine


Irish Bayou


New Orleans, Louisiana

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

Attachments:
Maps



Hurricane Katrina Effects on Lake Pontchartrain

Hurricane Archive
	Hurricane Katrina
Cumulative Wind Map



	Tracking Map | Landfall Regional Radar Loop | Landfall Local Radar Loop | Forecast Verification | Precipitation | Satellite | Cumulative Wind Map | Miami Landfall Regional Radar Loop 

	Storm Coordinates
Tracking info for Hurricane Katrina

 Time             Lat   Lon   Wind(mph)  Pressure  Storm type

------------------------------------------------------------------------

21 GMT 08/23/05  23.2N 75.5W     35       1007     Tropical Depression

03 GMT 08/24/05  23.4N 76.0W     35       1007     Tropical Depression

09 GMT 08/24/05  24.0N 76.4W     35       1006     Tropical Depression

15 GMT 08/24/05  24.7N 76.7W     40       1006     Tropical Storm

21 GMT 08/24/05  25.6N 77.2W     45       1002     Tropical Storm

03 GMT 08/25/05  26.0N 78.0W     50       1001     Tropical Storm

09 GMT 08/25/05  26.2N 78.7W     50       1000     Tropical Storm

15 GMT 08/25/05  26.2N 79.3W     60        997     Tropical Storm

21 GMT 08/25/05  26.1N 79.9W     75        985     Category 1 Hurricane

03 GMT 08/26/05  25.5N 80.7W     75        984     Category 1 Hurricane

09 GMT 08/26/05  25.3N 81.5W     75        987     Category 1 Hurricane

15 GMT 08/26/05  25.1N 82.2W     75        981     Category 1 Hurricane

15 GMT 08/26/05  25.1N 82.2W     80        981     Category 1 Hurricane

15 GMT 08/26/05  25.1N 82.2W    100        971     Category 2 Hurricane

21 GMT 08/26/05  24.8N 82.9W    100        965     Category 2 Hurricane

03 GMT 08/27/05  24.6N 83.6W    105        965     Category 2 Hurricane

09 GMT 08/27/05  24.4N 84.4W    115        945     Category 3 Hurricane

15 GMT 08/27/05  24.5N 85.0W    115        940     Category 3 Hurricane

21 GMT 08/27/05  24.6N 85.6W    115        945     Category 3 Hurricane

03 GMT 08/28/05  25.0N 86.2W    115        939     Category 3 Hurricane

06 GMT 08/28/05  25.1N 86.8W    145        935     Category 4 Hurricane

09 GMT 08/28/05  25.4N 87.4W    145        935     Category 4 Hurricane

12 GMT 08/28/05  25.7N 87.7W    160        908     Category 5 Hurricane

15 GMT 08/28/05  26.0N 88.1W    175        907     Category 5 Hurricane

21 GMT 08/28/05  26.9N 89.0W    165        902     Category 5 Hurricane

03 GMT 08/29/05  27.6N 89.4W    160        904     Category 5 Hurricane

09 GMT 08/29/05  28.8N 89.6W    150        915     Category 4 Hurricane

15 GMT 08/29/05  30.2N 89.6W    125        927     Category 3 Hurricane

21 GMT 08/29/05  31.9N 89.6W     75        960     Category 1 Hurricane

03 GMT 08/30/05  33.5N 88.5W     60        973     Tropical Storm

09 GMT 08/30/05  34.7N 88.4W     50        981     Tropical Storm

15 GMT 08/30/05  36.3N 87.5W     35        985     Tropical Depression


This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


