chuck

STRUCTURAL INSPECTION

Date:
November 14, 2005

Type:
Primary residence

RE:
Post-Hurricane Katrina Structural Inspection

Structure:
Wood frame/Brick walls, composition roof shingles  

Owner(s): 
John & Sally Fanta

Property: 
268 Blue Crane



Slidell, La 70461

History:

Mr. & Mrs. Fanta contacted Dammon Engineering to perform a structural inspection on the referenced residence.  They are concerned about the foundation/structure of their home after hurricane Katrina‘s high winds and water.  They reported that four pine trees fell on the home and that the concrete foundation had cracked in the rear of the home.

Findings:

After a visual inspection of the home the following was noted:

1. There was damage to the roof in the rear of the home where the trees had fallen onto the roof.  This is where the master bedroom is located and the master bedroom closet.

2. A crack in the foundation starts in the master bedroom and runs through the spare bedroom.  It is approximately 3/16” to 1/8” wide and 20’ feet long.

3. The crack does not extend to the exterior footing, and the brick veneer on the exterior wall in that area has no cracks.  

4. The crack does penetrate the footing in the covered porch area.  This crack appears to be new, due to the sharp edges of the concrete.

5. A level was used to find the difference in elevation of the foundation.  A differential reading of the foundation shows from the foyer to the rear of the home approximately a 2” fall.

Analysis:

1. The cracks in the slab are definitely related to the trees that fell on the roof in the rear of the home.

2. Repairs to the roof and supporting structure should be accomplished as soon as possible to prevent further damage. 

3. Prior to leveling and repairing the foundation and sealing the crack, termite treatment should be administered.

4. The sheetrock that was damaged by water should be removed, along with the insulation surrounding the area (see additional notes below) and replaced with new insulation and sheetrock.

Conclusion:

It is my professional opinion that the repairs to the items listed above are accomplished; this dwelling will be structurally sound.

Additional Notes:

When work is being accomplished to rebuild the structure, fastenings and nail patterns should meet the new International Building Code requirements for that work.

Information homeowners should know about flood damaged walls and floors, or those damaged by water entry from rain, etc.

The wood stud walls will need to be dried out prior to covering with new wallboard.  In order to dry out the wood studs, one side of the wall will need to be removed and allow sufficient drying time to occur.  Mold remediation should occur as soon as possible.  The American Wood Council states that wood needs to dry out to less than 19% moisture content prior to enclosing wood studs, otherwise the structural integrity could be compromised and mold growth could occur.  Contractors should not re-install wallboard until the moisture content in the stud wall is below 19%.  Houses built using thicker wood products should expect longer dry out times.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


