[image: image7.jpg]< MAPQUEST. = !

Wit Kifchen

CAR & j 9Nerlh Shore

KNE . g
& LA i&?h‘d‘.’ﬂf Howze Basch Fritchie Marsh
{w) R o
A@‘; 4 =alt Bayoy
LAKE
ORE~
éa%mr%i
"{ﬁ:—mu@ej
15185
Rieorets
E. ﬁ'{ P\‘E@‘g C_Hkl Fort
© 2005 MapQuest.cam, Inz, D205 NAYTER
Smi
_Samnt Tammany Corner Santa Resa Gﬁ
ht Kiln
_Bamnt Tammany Hickogy @
Maude vl River @a
Mﬂ _Gamesville
Amas Riwer %

(23}
~ '.v_> J‘
< No 0o 7""_‘WSV§ g
Bnnl:? (‘ansldc Park
Lakeshara
< G ;
TORR e, / Ansley
’ 2ol Hasksan Landing

o
sntehartrain B
CARR, vn.\\;;j/

{ﬁ

& 2005 MapQuest.com, Ing ; & 2005 Tele Atlas





[image: image2.png]this area, but not the damaging winds. These buildings went as easily as the ones
built with their main floors at the 7.0 ft range, as did Mr. Pihl’s house.

5. Lakeshore Estates, just northwest of Treasure Isle, suffered flooding, but their
homes were not destroyed and suffered much less damage.

6. One homeowner from Treasure Isle reported that when he first arrived after the
storm, the roof of his house was seen floating in Lake Pontchartrain, indicative of
tornadic winds blowing these structures into the lake, before most of the debris
being washed back in shore as far as four miles.

Analysis:
Hurricane force winds ripped the Rigolets area before dawn on Monday, September 29,

2005, prior to the flood that ensued after daylight. The western part of the eye of the
hurricane passed over the Rigolets and Treasure Isle probably between daylight and 8:00
a.m. These winds were gusting and causing roofs and whole houses to shutter under
relentless wind pressures of from 30 psf'to 45 psf, during the pre-dawn and early morning
hours. This variable wind speed caused variable wind pressures that were capable of
shaking and dismantling the house, long before flooding arrived, the flood peaking
between 7:30 a.m and 8:00 a.m on Monday according to an eyewitness in Rigolets
Estates, approximately ¥ mile away. Wind direction during this period was first out of
the east and northeast prior to the eye passing and then the northwest and west-northwest
following the eye passing.

Winds on Lake Pontchartrain are said to have reached 130 mph with gusts well over that
speed. With this, variable forces over 20,000 Ibs. acted on the walls, windows, doors,
etc., having the capability of shaking the building apart.

This house was exposed to flood waters and tidal surges in previous hurricanes, as were
many of the buildings on Treasure Iste. Hurricane Isidor, with it similar flood
characteristics, did no structural damage to this house. Hurricane surge waters had
reached the shallow marshes and Lake Borgne long before reaching this area, and surges
that were seen along the Mississippi Coast did not happen here, as they had been
dampened by traveling across long stretches of these shallow areas.

Again, the fifteen homes on the peninsula that were single story, faired the same as the
two and three story buildings, and many of the taller buildings had columns and
breakaway walls to guard against water surge. There is only one answer — the wind did
the damage, and the water carried off the remnants.

Reports from people who rode out the hurricane in Rigolets Estates, Fort Pike, Irish
Bayou, Lakeview Drive and on Bayou Liberty, all attest to the fact that there was no great
surge or wall of water that would have pushed over buildings, but instead a fast rising
tide in all these locations, that followed the relentless wind. These people also reported
that the flood water did not reach 16 feet above sea level.

Conclusion:





[image: image3.png]Tt is my professional opinion that this house was wrecked and demolished by punishing
winds that worked on the walls, roof, windows, and doors that were not constructed to
present day standards for standing up to the high winds. The loss was caused by the
forces of the winds, prior to the maximum flood water moving in. The house probably
went into Lake Pontchartrain, but loose parts then were pushed inland by the flooding.

When the higher flood waters came, they were moving fast and moved the remnants far
inland, where most of the identifiable objects from Treasure Isle were found in the
vicinity of Apple Pie Ridge, approximately three miles northeast of Treasure Isle.

Eyewitnesses:

1. Mr. Leonard Brown — Rigolets Estates
Marlin Drive @ Moray Drive
Rigolets Estates

Slidell, Louisiana

2. Joe Perez
(Volunteer Fire Department)
St. Nicholas Church
Lake Catherine Hwy 90
New Orleans, Louisiana

Kennard Jackley (video)
265 Carr Drive
Slidell, Louisiana

(5]

4. Emmett G. (Pete) Dammon
34487 Torregano Rd. (Bayou Liberty)
Slidell, Louisiana

S. Jimmy Ray Lemoine
Irish Bayou

New Orleans, Louisiana

Sincerely,

Gt

Emmett G. (Pete) Dammon, P.E.

Attachments: 1. Maps of affected areas west of center
2. Hurricane Katrina/Lake Pontchartrain Synopsis




[image: image4.png]Hurricane Katrina

Effects on Lake Pontchartrain

Hurricane Katrina had the western edge of its eye passing just west of the I-10 bridge on Lake
Pontchartrain, probably in the Irish Bayou area, in the early daylight hours of Monday, August
29, 2005. The eastern edge of the eye was in Mississippi, possibly the Bay St. Louis area.

To properly discuss what bappened at various locations around the eye, at different times during
its passing any particular point, one must remember that: 1.) Winds rotate counter clockwise
around the eye. 2.) The most damage will be felt in the northeast quadrant of the hurricane,
outside the eye. 3.) Winds will diminish in speed as the distance from the eye increases.

To discuss the severity of wind and water actions on buildings, signs, trees, etc., that are in the
path of a hurricane, one must recognize the laws of science that govern the way forces act on
these objects.

Surges:

Wave pressure at 10 mph moving water:
a. 1 foot wave = 209 [bs/ft®
b. 2 foot wave = 418 Ibs/ft’
¢. 3 foot wave = 627 lbs/ft

The more intense the storm and the closer to the right front quadrant, the greater the storm surge
as that is the strongest part of the storm. Conversely, the winds on the northwest and west
quadrant are working to diminish the surge, by driving it to the southwest and later the south, as
the eye passes. The homes in the eastern Lake Pontchartrain area, namely Treasure Isle, Rigolets
Estates, Lakeview Drive, Irish Bayou in New Orleans and as far away as Bayou Liberty in

Slidell were all in this area where the storm surge was diminished to the point that it was not
recognized as a surge by eye witnesses. Eye witnesses located in Rigolets Estates, St. Nicholas
Church at Lake Catherine, Irish Bayou, Carr Drive and on Bayou Liberty in Slidell, reported no
storm surge and no wave action that would have reached above a sixteen foot elevation to pound
the walls of a residence.

gl

Wind Action on Buildings:

Wind pressures on surfaces perpendicular to the wind direction are recognized as;
a. At 100 mph, wind pressure = 32.78 Ibs/ft®
b. At 120 mph, wind pressure = 36.86 Ibs/ft?
c. At 130 mph, wind pressure = 43.26 lbs/ft”
d. At 140 mph, wind pressure = 50.176 Ibs/ft*

Wind pressure against the sides, roof and other projections of a building can tear the building
apart, or topple the building with a force that is calculated using the formula F =.00256 V2,
where F (force) is measured in Ibs. per ft”.




[image: image5.png]A hypothetical residence, or other building, measuring 40 fi. x 50 ft. in area, with nine foot
ceilings and built on columns that are ten feet high, presents approximately 450 s.f. of wall
surface to a wind that is blowing perpendicular to its length. If the wind is blowing 130 mph, a
pressure of approximately 43 lbs/ft* would be exerted on this surface, not to mention the roof,
negative pressures on the opposite side, etc. With the main floor 10 feet above the base of'its
columns, and the average roof height being 10 feet, the total pressure exerted on the column base
plates would be approximately 560,000 ft Ibs. Wind gusts would cause this pressure to increase.
For a building with 24 columns, this amounts to more than 23,000 ft lbs. of force acting on each
column to destroy its connection to the slab.

A home that is raised and with two or more floors above the column connection to the frame of
the house would be subject to even higher pressures.

Many houses in the area of destruction fell into the category above, but were built to meet the
older building codes with lower requirements for winds. Conversely, a predominant number of
homes in the Rigolets Estates area that were designed to meet the new International Building
Code and survived the hurricane with their structure intact.

It is interesting to note that variations in buildings and building components, and the angle that
the wind or water strikes an object, all come into play when determining the force that an object
is subjected to. A round column, for instance, decreases the pressure by approximately 33% in
comparison to a square column.

Water presents much more pressure on an object than wind, but it has to get to the object to do
so. This is why most of these residences were raised, had columns to hold them up rather than
walls, and had blow out relief by using breakaway walls or windows below the 16 level.

All of the houses on Treasure Isle had sustained flood and wind damage in past hurricanes, the
difference being that they were nearer the center of this hurricane than the previous ones. They
all withstood the pressures exerted by these past floods, with little to no structural damage. It
makes no sense that flooding of the hurricane could then wipe them all out.

Many of the homes on Treasure Isle were built with their main floors at approximately elevation
6.0, or 7.0, NGVD. These houses suffered the same wind pressures as did the ones with higher
main floor elevations. For a similar wall exposure of these houses that are mostly over 30 years
old, and built to no particular standards, the same pressures would work to tear them apart.





[image: image6]
[image: image1.png]DAMMON ENGINEERING, INC.

dammonengineering.com

ENGINEERS ARCHITECTS
CONSULTING DESIGN STUDIES EXPERT WITNESS
1095 Florida Ave. P.0. Box 2830 985-649-5832
Slidell, LA 70458 Slidell, LA 70459 FAX 985-641-5950

November 30, 2005
RE:  Post-Katrina Structural Inspection
Owner(s): Mr. Douglas Pihl

Address: 43 N. Treasure Isle
Slidell, Louisiana 70461

History:

The Pihl residence, along with approximately 55 other homes, was located on the
peninsula of land jutting into Lake Pontchartrain, known as Treasure Isle. Only the slab
and scattered bricks and some pipe columns are left to show that a very nice home one
stood at this location.

All but a very few of the homes were completely demolished and taken away to complete
oblivion during the storm known as Hurricane Katrina.

Findings:
1. There is an existing concrete slab that is reportedly at an approximate elevation of
6.0’ NGVD.
2. There is brick remnants laying on and around the slab, which also has four pipe
columns sticking up from the slab. Very little other materials are in the area.

Nearby Property —

1. Two dwellings on the south end of the Isle and one at #36 North have their frames
still standing, but are gutted. These are all raised houses, two with steel
framework and one with wood. Even though both had their main floors at or
above the flood level, they were both ravaged above the flood level, and require
demolition.

2. Other nearby homes on the peninsula were either raised or had their main floor at

approximately elevation 7°. They were treated equally by the wind forces.

Out of approximately 55 homes on Treasure Isle that were existing prior to the

storm, only ten or so remain, and perhaps only one of these is worth rebuilding.

4. Many other of these homes had their main living floor at or above sixteen ft.
NGVD, and as such this part of their homes that were built on columns was above
the flood and, having breakaway walls between the columns, could have survived
a flood such as Katrina, not reaching the 16’ elevation the hurricane presented in

(98]



