STRUCTURAL UPDATE

Lot 5, Treasure Island

Anthony  & Denise Fiore

 Thursday, July 12, 2007

Went to the property today to meet with Mr. Ducote and Mrs. Fiore is an effort to acquire the additional information regarding this property that was requested by the St. Tammany Parish inspectors.

· We verified that the walls on the lower section of the home are designed to be “Breakaway Walls”.

· A copy of the Elevation Certificate from the original house shows that the “Bottom of the lowest horizontal structural member is 17.7” This certificate is the one issued when the house was first constructed.  It should be valid.  The original house remains with the addition of an enlarged floor space.

· An affidavit verifying the details of the pilings, sizes, length, and depth driven has been requested from Lamulle Construction.

· The lower section of the house measures 20’ 9” x 26’ is constructed using Breakaway walls on all four walls.

· Parish has also requested a Foundation Certification.

· I understand that the name of the contractor that was fired is Sandra Tomasseti

