STRUCTURAL CERTIFICATION

Lot 5, Treasure Island

July 26, 2007

Mrs. Denise Jobe, Director

St. Tammany Parish Department of Permits

21490 Koop Drive

Mandeville, Louisiana 70471

Re:  Hurricane damage construction and renovations. 

Location: Lot 5, Treasure Island, Slidell, LA 70461

Owner: Anthony and Jaime Fiore   504-650-0539

Date of inspection: July 12, 2007

· A notarized copy of the Elevation Certificate for this property is on file with St. Tammany Parish Department of Permits.

· It shows that the “Bottom of the lowest horizontal structural member is 17.7’.

· This certificate is the one issued when the house was first constructed.  It should be valid.  The original house remains with the addition of an enlarged floor space at the same elevation.

· A notarized copy of the requested Piling Affidavit from Lamulle Construction accompanies this letter.

· We have investigated the small room under the residence and have determined that the walls are constructed correctly as “Break Away Walls” on all four walls.

· This room measures 20’ 9” x 26’.

Dammon Engineering certifies that the foundation of this residence meets the requirements of the St. Tammany Parish Codes, and the building is structurally sound.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

