INSPECTION

Date:
February 9, 2006

Type:
Multi resident condo

Structure:
Wood frame, concrete foundation, brick and vinyl siding/shingle roof
RE:

Mansions Spartan Trace



513 Spartan Dr.

Slidell, La 70458

To Whom It May Concern:

The following items were inspected per the directive 1121.104, Public Offering Statement, Conversion Condominiums.

The present condition of all structural components consisting of the roof, and mechanical and electrical installations are in good condition. 

a. The roof shingle manufacturer warranty at the time of installation is thirty years.  The estimated remaining life of the roof is estimated at twenty-five years.

b. The vinyl siding was warranted for forty years from the manufacturer.  The useful life of the siding is estimated to be thirty five years.

c. The mechanical (A/C) systems, consisting of split DX systems, has a manufacturer’s warranty of ten years.  The estimated remaining life is ten years.

d. The electrical distribution system is in good condition and the life of the system is predicted to be life time.

The building was constructed in the year 2000 and meets the building codes consistent to that date.  At this time there are no apparent violations of the building and/or municipal regulations.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


