STRUCTURAL INSPECTION

Date:
February 23, 2006
Type:
Residential  property

Structure:
Two story wood frame, on CMU block piers/ shingle roof /wood siding

Owner(s):
Ogden Carter



61004 Timberbend Rd.
Lacombe La


985-768-7409
History:

Mrs. Carter contacted Dammon Engineering to perform a structural inspection on the referenced residence.  She was concerned about a tree that hit her home.  The home is fourteen years old and they have lived in it for one year.  She stated that the water rose in her yard, level with the deck on the outside of the home and it is approximately twenty four inches from the top of the deck to the ground.  No flood water entered the home.
Findings:

During a visual inspection of the home, the following was noted:

1. Tree damage to the front porch roof from Hurricane Katrina with no damage to the structure.
Conclusion:

It is my professional opinion that this dwelling is structurally sound.
Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


