STRUCTURAL INSPECTION

Date:
February 23, 2006
Type:
Residential  property

Structure:
Two story wood frame/CMU block piers/shingle roof /vinyl siding

Owner(s): 
Ogden Carter


       
61004 Timberbend Rd.









Lacombe La 






985-768-7409
History:

Mrs. Carter asked that Dammon Engineering, Inc. inspect the house to determine the significance of cracks in the sheetrock walls above the windows in the living/dining area.
Findings:

The cracks in the sheetrock were determined to be the result of settlement of the CMU piers that support the house.
Analysis

There has been some settlement of the floor in the area of the cracks.  Settlement usually occurs mostly in the first and second year after the house is built, with the amount of settlement per year tapering off each year after that, until it is infinitesimal in 10 years or so.  This house has probably experienced 95% of its settlement.
Conclusion:

It is my professional opinion that the house is structurally sound.
Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


