  DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

STRUCTURAL INSPECTION

Date:
August 22, 2006

Type:
Residential

RE:     Post-Hurricane Katrina Structural Inspection
Structure:
Wood frame on concrete foundation, brick and wood siding/composition roof with terra cotta ridge cap

Property: 
Julie Wadsack

62 Egret St..



New Orleans, La 

History:

Mrs. Wadsack contacted Dammon Engineering to perform a structural inspection on the referenced residence.  She reported that the floodwaters and winds of Hurricane Katrina severely damaged the home.  Two trees fell on the north side of the home damaging the roof.  Water reached a height of approximately 24” inside the home.  Mrs. Wadsack disclosed that an addition was made to the home prior to the hurricane, enclosing the courtyard and adding a new roof.  The furnishings are still in the home.

Findings:

1. The solid brick wall on the rear of the home is cracked in four different locations.

2. Two trees fell on the roof near the kitchen, damaging the fascia, roof decking and shingles.

3. No visual inspection of the concrete foundation from inside the home was possible due to existing floor coverings.

4. There is a crack in the ceiling in the master bedroom that runs across the hall to the closet.
5. The wall in the master bedroom is bulging at the top.

6. The mold has spread throughout the home to the ceilings and air conditioning system.

7. The electrical wire and receptacles were submerged in water.

8. The kitchen cabinets and appliances were submerged in water.
Analysis:

1. The brick wall on the rear of the home is cracked from settling of the foundation that was added after the construction of the main residence.  Stabilizing the foundation with pilings and repointing the brick is recommended if the residence is repaired.

2. The two trees that fell on the house near the kitchen damaged the fascia board, roof decking and

      roof shingles.  Replacement of the damaged roof will be necessary.
3. The fractured ceiling in the master bedroom is a direct result of the framing broken within the wall, and roof damage.  Complete roof damage cannot be assessed until the roofing and sheathing is removed. 

4. All of the sheetrock, floor coverings, paneling, cabinets, insulation, electrical wiring, air conditioning and heating system must be removed prior to reconstruction.  

5. A certified mold remediation company should determine if the home is safe prior to reconstruction.

Conclusion:

It is my professional opinion that once all repairs are accomplished, this dwelling will be structurally sound.  If the contractor’s estimated cost of repair exceeds fifty five percent of the reconstruction of the home, then the homeowner should make the decision to repair or rebuild.  It is my opinion that the home is damaged at 55% of the replacement cost.
Additional Notes:

There may be additional damage not seen until the coverings are removed.

If  work is undertaken to rebuild the structure, fastenings and nail patterns should meet the new International Building Code requirements for that work.  A qualified licensed professional contractor is required to perform this work.

Information homeowners should know about flood damaged walls and floors, or those damaged by water entry from rain, etc.

If work is undertaken to rebuild the structure, all framing will need to be inspected after sheetrock is removed for any indication of mildew and/or rot.  If found, such areas may require replacement prior to installation of new wallboard.  The wood stud walls will need to be dried out prior to covering with new wallboard.  In order to dry out the wood studs, one side of the wall will need to be removed and allow sufficient drying time to occur.  Mold remediation should occur as soon as possible.  The American Wood Council states that wood needs to dry out to less than 19% moisture content prior to enclosing wood studs, otherwise the structural integrity could be compromised and mold growth could occur.  Contractors should not re-install wallboard until the moisture content in the stud wall is below 19%.  Houses built using thicker wood products should expect longer dry out times.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


