STRUCTURAL INSPECTION

Date:
March 09, 2006
Type:
Residential

RE:
Construction Inspection


Post-Hurricane Katrina
Structure:
Wood frame, concrete foundation, brick siding and shingle roof.

Owner(s): 
Larry and Debbie  Cooper. 

Property: 
911 Tranquility



Pearl River, La  70452



985-707-8437

History:

Mrs. Cooper contacted Dammon Engineering to perform a construction inspection on the referenced residence.  Mr. Dammon met with LP Construction at the site and reviewed the repairs to the home.
Post Katrina Findings:

A visual inspection of the residence revealed the following:

1. A tree impacted the northwest corner of the home.  The corner of the home was damaged, which includes the shingles, felt paper, and roof decking.

2. The roof was also impacted on the north wall to the east of the fireplace with substantial damage to the roof, including the roof rafters, chine, fascia board, shingles, felt paper, roof decking, insulation, sheet rock, etc.

3. The master bathroom closet was completely destroyed from the foundation up.

4. The east side of the roof was also damaged from a third falling tree.  Roof, fascia boards, chine and roof decking are damaged.

5. The brick surrounding the home is in good condition with no apparent damage.

6. The foundation is in good condition and no cracks where found at the time of inspection.

7. There is substantial water damage to the interior of the home due to the roof damage sustained during the storm.

8. Cracks in the walls and ceilings were found.

9. The electric light in the master bath was knocked from its original position.

Construction Findings:

1. The installation of a 2x8 strong back spanning the living room ceiling is required to support the roof rafters properly.
2. The repairs to the master bathroom closet, roof shingles, roof decking, fascia boards, chine, and sheetrock all meet the new International Code requirements for residences.
Conclusion:

It is my professional opinion that after the repairs to the home are complete, this dwelling will be structurally sound.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


