Hurricane Katrina
Effects on St. Bernard Parish/New Orleans
Hurricane Katrina had the western edge of its eye passing through St. Bernard Parish in the early daylight hours of Monday, August 29, 2005.  The eastern edge of the eye was in the Bay St. Louis area.

To properly discuss what happened at various locations around the eye, at different times during its passing any particular point, one must remember that:  1.) Winds rotate counter clockwise around the eye.  2.) The most damage will be felt in the northeast quadrant of the hurricane, outside the eye (usually at the wall of the eye).  3.) Winds will diminish in speed as the distance from the eye increases.

Winds as noted at 130 mph were near ground level were reported by the Louisiana Office of State Climatology, Baton Rouge, Louisiana.  Winds at higher altitudes (500’+/-) were over 200 mph.  Information from the National Weather Service at Slidell indicates that stronger winds, which were found at higher altitudes, have the capability to dip down, causing gusts or other temporarily increased winds at the surface.  Tornados also add to the possibilities when one group of houses are totally ravaged and others nearby are not.
To discuss the severity of wind and water actions on buildings, signs, trees, etc., that are in the path of a hurricane, one must recognize the laws of science that govern the way forces act on these objects.

Surges:

Wave pressure at 10 mph moving water:

a. 1 foot wave = 209 lbs/ft2
b. 2 foot wave = 418 lbs/ft2
c. 3 foot wave = 627 lbs/ft2
The more intense the storm and the closer to the right front quadrant, the greater the storm surge, as that is the strongest part of the storm.  Conversely, the winds on the northwest and west quadrant are working to diminish the surge, by driving it to the southwest and later the south, as the eye passes on a northerly trek.

Winds in the north quadrant, blowing from the east, tend to blow this tidal surge towards the west, pushing water through channels such as the MRGO (Mississippi River Gulf Outlet) and into urban areas of St. Bernard and New Orleans.  During Hurricane Katrina, levees were topped and/or breached, sending water into residential areas.  This east wind also filled Lake Pontchartrain and as the eye moved north, north winds blew the surge water towards New Orleans and Chalmette, later turning on the north shore when the winds became west and subsiding.

The western eyewall of the hurricane passed through St. Bernard Parish.  As the hurricane (eye) made landfall in Plaquemines Parish and headed north, approaching St. Bernard, strong winds over 140 mph were recorded in the southeast Louisiana area.

These winds were very destructive and, according to eyewitnesses, blew roofs and other parts of houses through the air and into other houses, causing catastrophic damage, before the levees along the MRGO gave way to surge waters and then topping the 40 Arpent Canal levees and inundating Chalmette, lower St. Bernard, and further west into New Orleans.

Wind Action on Buildings:
Wind pressures on surfaces perpendicular to the wind direction are recognized as:

a. At 100 mph, wind pressure = 32.78 lbs/ft2
b. At 120 mph, wind pressure = 36.86 lbs/ft2
c. At 130 mph, wind pressure = 43.26 lbs/ft2
d. At 140 mph, wind pressure = 50.176 lbs/ft2
Wind pressure against the sides, roof and other projections of a building can tear the building apart, or topple the building with a force that is calculated using the formula F =.00256 V2, where F (force) is measured in lbs. per ft2.
A hypothetical residence, or other building, measuring 40 ft. x 50 ft. in area, with nine foot ceilings and built on columns that are ten feet high, presents approximately 450 s.f. of wall surface to a wind that is blowing perpendicular to its length.  If the wind is blowing 130 mph, a pressure of approximately 43 lbs/ft2 would be exerted on this surface, not to mention the roof, negative pressures on the opposite side, etc.  With the main floor 10 feet above the base of its columns, and the average roof height being 10 feet, the total pressure exerted on the column base plates would be approximately 560,000 ft lbs.  Wind gusts would cause this pressure to increase.  For a building with 24 columns, this amounts to more than 23,000 ft lbs. of force acting on each column to destroy its connection to the slab.
A home that is raised and with two or more floors above the column connection to the frame of the house would be subject to even higher pressures.

Many houses in the area of destruction fell into the category above, but were built to meet the older building codes with lower requirements for winds.  Conversely, a predominant number of homes in the Rigolets Estates area were designed to meet the new International Building Code and survived the hurricane with their structure intact.

It is interesting to note that variations in buildings and building components, and the angle that the wind or water strikes an object, all come into play when determining the force that an object is subjected to.  A round column, for instance, decreases the pressure by approximately 33% in comparison to a square column.

Water presents much more pressure per square foot on an object than wind, but it has to get to the object to do so.  This is why many of these residences were raised, had columns to hold them up rather than walls, and had blow out relief by using breakaway walls or windows below the 16’ level.

Many of these homes were built with their main floors at approximately elevation 6.0, or 7.0, NGVD.  These houses suffered the same wind pressures as did the ones with higher main floor elevations.  For a similar wall exposure of these houses that are mostly over 30 years old, and built to no particular standards, the same wind pressures would work to tear them apart.  As far from the eye as Carr Drive in Slidell (ten miles west of the center) eyewitness reports describe how roofs and parts of houses were flying objects before they were moved by flood waters into the marsh.
Sincerely,

Emmett G. (Pete) Dammon, P.E.
La. License 8796

Katrina Wind and Water Information Gleaned from:
1. NOAA’s National Climatic Data Center: Hurricane Katrina, A Climatological Perspective: October 2005.

2. NOAA NOS Co-ops, Hurricane Katrina Preliminary Report: Revised September 15, 2005.

3. National Weather Service Forecast Office, New Orleans – Baton Rouge: Hurricane Katrina Post-tropical Cyclone Report, October 18, 2005.

4. Post-storm Data Acquisition – Aerial Wind Analysis and Damage Assessment, Hurricane Katrina, Hurricane Katrina PSDA Aerial Wind Analysis and Damage Assessment Team, October 31, 2005.

5. United States Geological Survey.  National Water Information System.  Retrieved: November 15, 2005, Station No. 301001089442600

6. Various Hurricane Videos Recorded and Distributed by Eyewitnesses

7. FEMA Louisiana Hurricane Katrina Surge Inundation Advisory Base Flood Elevation Map Panel Overview

Hurricane Katrina

Eyewitnesses:

1.
Mr. Glenn Ellis, III – District Chief


St. Bernard Parish Fire Department


8201 W. Judge Perez Dr.


Chalmette, LA  70043 504-278-1577
2.
Mr. Leonard Brown – Rigolets Estates


Marlin Drive @ Moray Drive


Rigolets Estates


Slidell, Louisiana

3.
Joe Perez


(Volunteer Fire Department)


St. Nicholas Church/Lake Catherine Hwy 90


New Orleans, Louisiana

4.
Kennard Jackley (video)


265 Carr Drive


Slidell, Louisiana

5.
Emmett G. (Pete) Dammon


34487 Torregano Rd. (Bayou Liberty)


Slidell, Louisiana

6.
Jimmy Ray Lemoine


Irish Bayou


New Orleans, Louisiana

7.
Grant Geiger


406 Carr Drive


Slidell, Louisiana
8. 
Bob Turner c.p. 504-494-9750/512-6330

Lake Borgne Levee

Other Eyewitnesses:

1.  James P. Osborn

     4003 Kyushu St.

     Bay St. Louis, MS

     Ph. 814-231-3881

2.  Rita Adams

     4043 Madagascar Street

     Bay St. Louis, MS

3.  Randy Netto

     4043 Madagascar Street

     Bay St. Louis, MS
