Structural Inspection

April 6, 2006

Seabreeze Apartments

4716, 4718, 4720 & 4722 Hwy 11

Slidell, Louisiana  70458

RE:
Structural Integrity

Following Hurricane Katrina, I inspected the apartments in October of 2005, and determined that except for the structural damage that had occurred to the front of the buildings (west end) when they were hit by wind or water borne objects and by a house during the hurricane, the balance of the apartment buildings were structurally sound.

The building damage is now being repaired by the owner as follows:

1. Jack and support upper floor structural system while repairs are made to the damaged area.

2. Replace all CMU units in damaged area, including steel reinforcing.

3. Replace floor trusses where damaged at west end of building.

It is my professional opinion that after the repairs are complete, the structural integrity of the buildings will be restored.

I will inspect the work when it is complete.

Sincerely,

Emmett G. (Pete) Dammon, P.E.
Attachment:
Email from Eric Penton - Outlining Damages and Proposed Repairs
