ESTIMATE OF REPAIR

Date:
November 11, 2005

Owner(s): 
St.Tammany Parish

Property: 
St Tammany Parish Government


Department of Facilities



Administration Complex


P.O.Box 628




521 Old Spanish Trail


Covington, La. 70434



Slidell, La.


1-985-630-2452

The following data was used to determine the estimate of repair for subject facility:

1. Remove all of the wall panels on the rear of the building to be re-used in                                 replacing damaged areas of front and side exterior walls.  6000 s.f. @ $6/s.f. = 
  $36,000.00

2. Build new exterior wall using traditional 2x4 stud wall with sheetrock                                              interior and stucco exterior.  6,000 s.f. @ $20/s.f. = 




$120,000.00
3. Removed damaged panels in outer walls and dispose to approved site.                                                80 panels @ $100/panel = 







    $8,000.00

4. Install relocated panels.  80 panels @ $100/panel = 




    $8,000.00

5. Miscellaneous repair and caulking all panels.  25,000s.f. @ $0.20/s.f.  = 

    $5,000.00

6. Glass panels 12@ 450  = 







    $5,400.00

7. Equipment rental for 45 days

a. 2 ea - Aerial lift to 80’ 







  $16,000.00

b. 1 ea – Roof supported basket & hoist





    $2,000.00

8. Repair interior columns and paint.






  $12,000.00
Subtotal this section




$212,400.00

Other items for replacement/repair:

1.  1st floor Air-conditioning and air handler 





  $34,000.00

2.  1st floor Hot water heater







    $1,500.00

3.  1st floor Boiler








  $37,500.00
Subtotal this section




  $72,500.00

Total






$284,900.00

Estimating variance at 20%







  $56,890.00





Subtotal this section




$341.880.00
Design Architecture & Engineering to accomplish the above 



  $29,743.00

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796
This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


