
DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


554 Old Spanish Trail



   




     985-649-5832

Slidell, LA 70458







            FAX 985-641-5950

Manufactured Home Inspection 


December 07, 2011

Owner:

Mr. Bobby Brandstetter



25940 Karly Dr.



Picayune, Mississippi 39466

RE:
Manufactured Home – FHA Requirements

1. The foundation system is adequate for the soil conditions of the site as per HUD Handbook 7584, attachment B.

2. Tie downs are tied to screw anchors in the ground and meet the HUD/FHA requirement as installed by manufacturer.

3. Wheels and axles have been removed.

4. The tongue and trailer hitch have been removed.

5. The unit is permanently connected to the water and waste system.

6. Per HUD/FHA requirements, the crawlspace is enclosed with vinyl skirting with ventilation and access panels.

7. I certify that the foundation meets the requirements of FHA.

8. I certify that the foundation meets the requirements of the manufactured housing industry specification for foundations, HUD Handbook 7584, dated September 1996.

9. All handrails were found to be structurally sound, meeting the requirements for R311.5.3 Stairs and Treads of the IRC and R311.5.6. 

Sincerely,

Emmett G. (Pete) Dammon, P.E.

