Manufactured Home Inspection

September 13, 2006

Realtor: 
Mrs. Andrea Cossé



Century 21 @ 985-640-6399

Property:
Joseph Bowers

60132 Annette Street

Lacombe, Louisiana  

RE:

Manufactured Home – FHA Requirements

1. The unit is permanently affixed to the foundation as described in HUD Handbook 7584.

2. The foundation system is adequate for the soil conditions of the site as per HUD Handbook 7584.

3. Tie downs are tied to screw anchors in the ground and meet the HUD/FHA requirement as installed by manufacturer.

4. Wheels and axles have been removed.

5. The tongue and trailer hitch have been removed.

6. The unit is permanently connected to the local utility system.

7. Handrails have been installed to meet the requirements.

8. Per HUD/FHA requirements/The crawlspace is enclosed with vinyl skirting.

9. Termite shields are present on each CMU pier.

10. The addition to the residence was also found to be in compliance with FHA requirements.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

