Manufactured Home Inspection

February 15, 2007

Buyer(s):
Teasha Richie

Property:
55 Blackbird Rd.

Poplarville, Mississippi 39470

601-463-1113

RE:

Manufactured Home – FHA Requirements

1. The unit is permanently affixed to the foundation as described in HUD Handbook 7584, System Number C2.

2. The foundation system is adequate for the soil conditions of the site as per HUD Handbook 7584, attachment B.

3. Tie downs are tied to screw anchors in the ground and meet the HUD/FHA requirement as installed by manufacturer.

4. Wheels and axles have been removed.

5. The tongue and trailer hitch have been removed.

6. The unit is permanently connected to the water and waste system.

7. Per HUD/FHA requirements/The crawlspace is enclosed in vinyl skirting with ventilation and access panels.

8. I certify that the foundation meets the requirements of FHA.

9. I certify that the foundation meets the requirements of the manufactured housing industry specification for foundations, HUD Handbook 7584, dated Sept.1996.

10. The rear wood porch was also inspected and found to be structurally sound

Meeting the requirements for R311.5.3 Stairs and Treads of the IRC and R311.5.6 Handrails of the IBC

Sincerely,

Emmett G. (Pete) Dammon, P.E.

