DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

Manufactured Home Inspection 

May 20, 2009

Buyer: John E Ross Jr

Property: 68474 Lester Drive

                Pearl River, La 70452

RE: Manufactured Home – FHA Requirements

1. The unit is permanently affixed to the foundation as described in HUD Handbook 7584, System Number C2.

2. The foundation system is adequate for the soil conditions of the site as per HUD Handbook 7584, attachment B.

3. Tie downs are tied to screw anchors in the ground and meet the HUD/FHA requirement as installed by manufacturer.

4. Wheels and axles have been removed.

5. The tongue and trailer hitch have been removed.

6. The unit is permanently connected to the water and waste system.

7. Per HUD/FHA requirements/The crawlspace is enclosed in vinyl skirting with ventilation and access panels.

8. I certify that the foundation meets the requirements of FHA.

9. I certify that the foundation meets the requirements of the manufactured housing industry specification for foundations, HUD Handbook 7584, dated Sept.1996.

10. The rear wood porch was also inspected and found to be structurally sound

Meeting the requirements for R311.5.3 Stairs and Treads of the IRC and R311.5.6 Handrails of the IBC

Sincerely,

Emmett G. (Pete) Dammon, P.E.
