Kevin Johnson fax 898-2785

October 22, 2008

Ms. Denise Jobe, Director

St. Tammany Parish Department of Permits

21490 Koop Drive

Mandeville, Louisiana 70471

RE:
Garage foundation


Robert Gowan


108 Roger Dr.


Slidell, Louisiana  

Date of Inspection:
October 22, 2008

Dear Ms. Jobe,

Mr. Gowan asked that I inspect his existing foundation to install a garage on and provide you with the following affidavit.

It is my professional opinion that the foundation was designed and constructed to meet and the requirements of the 2006 IBC, and is structurally sufficient for the use intended. The slab will be used to install a metal bldg. for the use of a garage.  

I performed the inspection and this report is true and correct to the best of my knowledge and belief.  This report shall serve as my affidavit that the foundation was erected according to provisions of Chapter 4 of the International Building Code, 2006 residential edition.  I hereby assume full responsibility for the compliance with all provisions of the technical code for foundations and all other pertinent laws and ordinances, as pertains to the foundation of the structure.

This report does not cover any other aspects of the building such as framing, plumbing, electrical, gas, mechanical egress, general arrangement, site drainage, etc., and assumes that ground conditions are substantially the same as is under the residence.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License No. 8796

