October 6, 2009
Mr. Kenneth J. Wortmann, Director

St. Tammany Parish Department of Permits

21490 Koop Drive

Mandeville, Louisiana 70471

RE:
Michael Sheppard

112 Oak Manor Drive

Slidell, La.  70460

Date of Inspection: 10-06-09

Dear Mr. Wortmann,

Mr. Michael Sheppard requested that I inspect a 40’x18’ wood frame workshop and provide you with the following affidavit.

It is my professional opinion that the wood frame building was constructed to meet the requirements of the 2006 IBC, and is structurally sufficient for the use intended.

I performed the inspection and this report is true and correct to the best of my knowledge and belief.  This report shall serve as my affidavit that the work was erected according to provisions of Chapter 14 and 15 of the International Building Code, 2006 Commercial edition. I hereby assume full responsibility for the compliance with all provisions of the technical code for this work and all other pertinent laws and ordinances, as pertains to the coverings of the structure in question.

This report does not cover any other aspects of the building such as plumbing, electrical, gas, mechanical egress, general arrangement, site drainage, etc.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License No. 8796

