DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


554 Old Spanish Trail



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

November 02, 2011

STRUCTURAL INSPECTION

For:
Ms. Donna Falgout

PMA Property Management Incorporated

            34653 Grantham College #5


Slidell, La. 70460

Location:
130 Napoleon Ave.



Slidell, La. 70460

Construction:
Wood Frame Porch

Scope: 

This inspection is limited to a visual inspection of the rear exterior porch of the residence.  No inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect or engineering.

History:

Ms. Falgout contacted Dammon Engineering to perform a structural inspection on the referenced residential property for the purpose of evaluating proposed repair methods to the rear exterior porch.  It was stated that the homeowner is making the repairs and PMA is asking for a second opinion of intended repair methods.
Findings:

Roof water runoff is causing damage to the 4x4 corner wood post and the 2x8 wood structure that it’s sitting on. It is recommended that all the rotten wood be replaced with similar materials (treated lumber) per the home owner’s request.

Opinion:

It is my opinion that the above residence is structurally sound and capable of being restored to its original design.

Sincerely,

Emmett Dammon

La. License 8796
This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


