Kevin Johnson fax 898-2785

November 21, 2008

Ms. Denise Jobe, Director

St. Tammany Parish Department of Permits

21490 Koop Drive

Mandeville, Louisiana 70471

RE:
Garage/Boat House foundation


Larry Bethea


239 Debbie Drive


Slidell, Louisiana  

Date of Inspection: November 20, 2008

Dear Ms. Jobe,

Mr. Bethea asked that I inspect his existing foundation to install a garage/boat house on and provide you with the following affidavit.

It is my professional opinion that the foundation was designed and constructed to meet and the requirements of the 2006 IBC, and is structurally sufficient for the use intended. The slab will be used to install a wood frame bldg. for the use of a garage/boat house.  

I performed the inspection and this report is true and correct to the best of my knowledge and belief.  This report shall serve as my affidavit that the foundation was erected according to provisions of Chapter 4 of the International Building Code, 2006 residential edition.  I hereby assume full responsibility for the compliance with all provisions of the technical code for foundations and all other pertinent laws and ordinances, as pertains to the foundation of the structure.

This report does not cover any other aspects of the building such as framing, plumbing, electrical, gas, mechanical egress, general arrangement, site drainage, etc., and assumes that ground conditions are substantially the same as is under the residence.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License No. 8796

