DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

         March 24, 2010

Mr. Kenneth J. Wortmann, Director/Building Official

St. Tammany Parish

Department of Permits & Regulatory

21490 Koop Drive

Mandeville, Louisiana  70471

Re:
Mr. & Mrs. Ulloa

536 Tartan Trace

Covington, LA 70435

Phone: 985-778-3027

Dear Mr. Wortmann,

Ms. Ulloa requested that I inspect the existing concrete foundation located at the referenced location.  The Ulloa’s reported that on November 30, 2009 their 2,384 sq. ft. home was destroyed by fire.  He requested that I provide you with the following affidavit.

It is my professional opinion that the foundation was designed and constructed to meet the requirements of the 2006 IBC, and is structurally sufficient for the use intended.  The slab is being used to construct a new residence on the existing foundation.  

The inspection was performed by me and this report is true and correct to the best of my knowledge and belief.  This report shall serve as my affidavit that the foundation was erected according to provisions of Chapter 4 of the International Building Code, 2006 residential edition.  I hereby assume full responsibility for the compliance with all provisions of the technical code for foundations and all other pertinent laws and ordinances, as pertains to the foundation of the structure.

This report does not cover any other aspects of the building such as framing, plumbing, electrical, gas, mechanical egress, general arrangement, site drainage, etc., and assumes that ground conditions are substantially the same as is under the residence.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License No. 8796

