DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


554 Old Spanish Trail



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

Structural Inspection

March 17, 2011

Mr. Scott Fandal 

St. Peter and Paul Church

66192 St. Mary Drive

Pearl River La. 70452

RE:
St. Peter and Paul Church

66192 St. Mary Drive

Pearl River La. 70452
Construction: 30 x 50 Metal Building on slab
Scope:

This inspection is limited to a visual inspection of the interior and exterior walls, floors, roof, and foundation of the building.  No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Small Building Property Condition Surveys.  This report is not an explanation of cause, effect, or engineering.

History:

Mr. Fandal asked us to perform a structural inspection of the metal building that caught fire in January of 2011 due to an electrical problem.

Findings:

The fire was extinguished before any damage to the structure could be done.  The wood decking and insulation showed signs of smoke damage.

Conclusion:

It is my professional opinion that the building is structurally sound and can be rebuilt for the church’s intended use.
Sincerely,

Emmett G. (Pete) Dammon, P.E.

