DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


554 Old Spanish Trail



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

Structural Inspection

December 21, 2011

For: 


Diane Reed




2021 Pelican Street




Slidell, La. 70458

Property Inspected:
202 Dogwood Street

       


Slidell, La. 70460

Construction:

Single story, wood frame with brick/vinyl veneer and composition shingle roof, the home is approximately 1,500 sq. ft. and 30 years old but was rebuilt after a major fire and is listed with the realtor as 11 years old.

Scope:

This inspection is limited to a visual inspection of the shell of the home, including the interior and exterior foundation of the residence. No Inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect, or engineering.

History:

Mrs. Reed contacted Dammon Engineering to request a structural inspection of the above listed residence. She was concerned about the foundation of the home not being level.

Findings:

It appears that additions have been made to the home over the years of its existence. The kitchen was apparently relocated and a master bedroom addition created.  Inside the home the flooring appears to be un-level. The Sheetrock walls and ceilings appear to be square and no signs of stress or cracks were noted to show any settling in the foundation.

The brick & mortar of the home appear to be in good condition. The foundation was noted to have a hair line crack near the dining room (right side of home) but no corresponding crack(s) were noted in the brick veneer. 

Analysis:

All residential foundations settle.  Usually everything settles together, and the fastest rate of settlement occurs in the first year after construction.  The house continues to settle and usually by the tenth year this settlement is infinitesimal.  By the fifth or sixth year the settlement has exponentially slowed to where there is little danger that something will happen unless caused by weather, tree roots, etc. 

Conclusion:

It is my professional opinion that any future settlement of the slab will be infinitesimal and will not affect the structural integrity of the house; however, the structure should be monitored for any major differences in the existing cracks or the appearance of new cracks. 

The majority of settling usually occurs in the first year after construction and gradual settlement then follows for about ten years, after which the structure should be relatively stable.  Settling may also be the result of the local weather conditions causing expansion or shrinkage of the soil.  The brick veneer and other concrete products expand and contract, causing cracks that are not necessarily structural problems.

This residence is structurally stable and will probably not show any major settling in the future.

If any cracks are found in the foundation after the flooring is removed they should be sealed with one of the commercial products designed for that purpose. A non-shrinking mortar, or caulk, should be used to fill the openings to prevent insects from entering the residence. 

Sincerely,

Emmett G. (Pete) Dammon, P.E.

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


