DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

STRUCTURAL CERTIFICATION

July 20, 2009

Mr. Mark Ford, Legal Department

St. Tammany Parish Department of Permits

21490 Koop Drive

Mandeville, Louisiana 70471
For:
Donald Fisk

Location:
5th Street, Snug Harbor 

                          Slidell, LA 70458

Building Description: Raised mobile home trailer.

Scope:

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation.  No inspection of the mechanical or electrical systems was performed.  

History:

Mr. Fisk contacted Dammon Engineering to request a structural inspection on the referenced residential property.

Findings:

The mobile home flooded approximately 4-5 feet during Hurricane Katrina. The interior wall framing remains and is in good condition. There are no holes/cracks in the floor surface. Floor is solid and level and there is no settling of the piling/foundation at the time of my inspection.

Analysis:

I certify the above residence is structurally sound and capable of being restored to its original design.

Sincerely,

Emmett Dammon

La. License 8796
This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


