DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

September 26, 2006

STRUCTURAL CERTIFICATION

For: 
Mr. Paul Kosbab


LA Development


P.O. Box 1649


Slidell, Louisiana  70459

Location:
106 Palm Springs



Yester Oaks Subdivision



Slidell, Louisiana

To Whom It May Concern:

Building Description:

Wood frame, conventional foundation, and shingle roof, brick veneer

Scope: 

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation. No inspection of the mechanical or electrical systems was performed.

History:

Mr. Kosbab contacted Dammon Engineering to perform a structural inspection on the referenced residential property.  Mr. Kosbab stated that water did enter the residence to an approximate height of four feet during Hurricane Katrina.  The building is approximately forty years old.

Findings:

This inspection covered components (foundation, wall and roof framing) and their ability to support the home.

1. Number of levels




One

2. Interior gutted




Yes

3. Cabinets, doors and flooring removed

Yes

4. Debris cleaned




Yes

5. Roof framing ok




Yes

6. Wall framing ok




No

7. Termite damage




No

8. Is building elevated



No

9. Foundation damaged



No

10. Exterior siding and/or brick veneer damaged
Yes

Analysis:
# 6. The rear wall framing of the addition has broken away from the foundation.  The roof should be temporarily supported and the wall rebuilt.

#10. The exterior siding of the addition should be replaced.

Conclusion:

I certify the above residence is structurally sound and capable of being restored to its original design.  Modifications to the floor plan or additions to the structure were not considered in this report.

Sincerely,

Emmett Dammon

La. License 8796
