STRUCTURAL INSPECTION

July 31, 2007

For:
 Eric Griswold

Location:
1408 Kings Row

Slidell, LA 70461

Construction: 

Single family residence/wood frame with brick veneer/composition shingle roof on a concrete slab

History:

Mr. Griswold contacted Dammon Engineering to request a structural inspection of the above listed property for the purpose of acquiring insurance on this property.

Scope:

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation of this residence.  No inspection of the mechanical or electric systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building property Condition Surveys.  This report is not an explanation of cause, effect, or engineering.

Findings: 

This inspection covered visible components, (foundation, wall, roof and framing.)

            Description:




Findings:
1.   Number of levels




One

2.   Interior gutted




Yes

3.   Debris cleaned




Yes

4.   Floor framing




Not applicable

5.   Roof framing




OK

6.   Wall framing 




OK

7.   Rot or termite damage



None observed*

8.   Is structure elevated



No

9.   Signs of structural distress or damage

None seen

10. Failure or deterioration of foundation

No

*  No termite inspection was performed.

Analysis:

This residence was flooded during Hurricane Katrina.  The lower 4’ of sheetrock and insulation has been removed, and the studs treated in preparation for renovating the property.  

Opinion:

The interior framing, brick and foundation are in good condition.  This property is capable of being restored to its original condition.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

