DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

STRUCTURAL INSPECTION

December 23, 2008

            For:
Eric Griswald

        
985-768-2107

Location:
1432 Magnolia St

                         Slidell, La. 

Construction:  Wood frame with brick veneer, composition shingle roof with carpet and Ceramic tile.

Scope:

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation of the residence. No inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect, or engineering.

History:

Mr. Griswold contacted Dammon Engineering to perform a structural inspection on the referenced residential property for the purpose of obtaining builders risk insurance.  

Findings:

This inspection covered visible components (foundation, walls and roof framing and their ability to support the residence.

Description



Findings:

1.  Number of levels



One

2.  Interior Gutted



No

3.  Debris Cleaned



Yes

4.  Floor Covering



Carpet and Ceramic

5.  Roof Framing



OK

6.  Wall Framing



OK

7.   Termite Present
   

            N/A

8.   Is Structure Elevated


No

9.   Signs of Structural Distress or Damage
No

10. Failure or Deterioration of Foundation
None

Analysis:

It is my professional opinion that this residence is structurally sound and is capable of being restored to its original condition.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

