DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

July 25, 2006

STRUCTURAL CERTIFICATION

For:
Daniel Hinton


985-863-5273

Location:
1626-1628 Touro St.



New Orleans, Louisiana  

Description:
Duplex residence, wood frame on CMU piers and brick piers, wood siding, shingled roof with terra cotta ridge coverings.

History: 

Mrs. Hinton contacted Dammon Engineering to perform a structural certification on the above property.  She stated that the home had flooded during Hurricane Katrina.
Findings:

The roof is damaged, allowing rain to enter the residence.  Rainwater, penetrating through the damaged roof, has damaged the ceiling of the home in the living room.

Conclusion:

The damage to the structure is a direct result of wind and both flood and rainwater.  Repairs should begin as soon as possible.

It is my professional opinion that this dwelling is structurally sound.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License 8796

