DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

July 25, 2006

STRUCTURAL CERTIFICATION

For:
Daniel Hinton


985-863-5273


301-593-9355

Location:
1626-1628 Touro St.



New Orleans, Louisiana  

Building Description:
Duplex residence, wood frame on CMU and brick piers, wood siding, shingled roof with terra cotta ridge coverings.

Scope: 

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation. No inspection of the mechanical or electrical systems was performed.

History:

Mrs. Hinton stated that rainwater entered the home causing extensive damage.

Findings:

This inspection covered components (foundation, wall and roof framing) and their ability to support the home.

1. Number of levels




One

2. Interior gutted




No
3. Debris cleaned




No
4. roof framing ok




Yes

5. Wall framing ok




Yes

6. Any termite damage



No

7. Is building elevated



Yes

8. Foundation ok




Yes

9. Exterior siding ok



Yes

Analysis:

The roof is damaged, allowing rainwater to enter the residence.  Rainwater, penetrating through the damaged area of the roof, has damaged the ceilings, walls and floor coverings of the home.

Conclusion:

I certify the above residence is structurally sound and capable of being restored to its original design.

Sincerely,

Emmett Dammon

La. License 8796
