DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

October 25, 2006

STRUCTURAL CERTIFICATION

For:
Delphine Cuppay


985-640-7951

Location:
27292 W Jefferson



Lacombe, Louisiana  

Description: 
Single residence, wood frame, concrete foundation on grade, no siding, shingled roof.

History:

Mrs. Delphine Cuppay contacted Dammon Engineering to perform a structural certification on the above property.  Mrs. Cuppay stated that fallen trees from Hurricane Katrina struck the home and damaged the roof and structure.

Findings on the date of the inspection:

1. The debris had been removed from the exterior of the home.

2. The interior had been gutted.

3. The interior insulation and electrical had been removed.

4. The roof and wall framing is ok.

5. There is no evidence of termite damage.

6. A visual inspection of the foundation indicates that it is good condition.

7. The exterior siding had been removed.

Analysis:

The damage to the structure is a direct result of wind, which caused trees to fall onto the home and rainwater, which entered through holes and other punctures caused by the fallen trees. 

Conclusion:

It is my professional opinion that this building is structurally sound and can be rebuilt, as indicated above of the items that have been removed.  Repairs should be made by qualified licensed contractors. 

Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License 8796

