DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

May 30, 2007
STRUCTURAL CERTIFICATION

For:
Rick Gebhardt
Location:
107 Eden Isles Blvd.


Slidell, La.
Construction:
Wood frame on a concrete foundation, composition shingle roof
Scope: 

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation of the home. No inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect or engineering.

History:

Mr. Gebhardt contacted Dammon Engineering to perform a structural inspection on the referenced residential property for the purpose of obtaining insurance.  Mr. Gebhardt stated that water did enter the building during Hurricane Katrina.

Findings:

This inspection covered visible components (foundation, wall and roof framing) and their ability to support the home.


Description



Problem areas
1. Number of levels




One
2. Interior gutted




Yes
3. Debris cleaned




Yes

4. Roof framing 




Ok

5. Wall framing 




Ok

6. Any rot or termite damage



No

7. Is structure elevated




No
8. Structural distress or structural damage

None 

9. Failure or deterioration of the foundation 

None
Opinion:

There is a reasonable presumption of “structural soundness” of the original design, which was constructed using accepted, conventional materials and methods. It is my opinion that the above residence is structurally sound and capable of being restored to its original design.

Sincerely,

Emmett (Pete) Dammon, P.E.
La. License 8796

