DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

February 9, 2007
STRUCTURAL CERTIFICATION

For:
Chuck Gilpin
Location:
426 Eden Isles Dr.



Slidell, La

Construction:
Single story, Wood frame on concrete foundation, brick veneer, composition shingle roof
Scope: 

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation of the residence.  No inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect or engineering.

History:

Mr. Gilpin contacted Dammon Engineering to perform a structural inspection on the referenced residential property for the purpose of obtaining insurance.  Mr. Gilpin stated that water did enter the building to an approximate height of three feet during Hurricane Katrina.  

Findings:

This inspection covered visible components (foundation, wall and roof framing) and their ability to support the home.


Description



Problem areas
1. Number of levels




One
2. Interior gutted




Yes
3. Debris cleaned




Yes

4. Floor framing




Ok
5. Roof framing 




Ok

6. Wall framing 




Ok

7. Any rot or termite damage


No

8. Is structure elevated



No
9. Structural distress or structural damage

None 

10. Failure or deterioration of the foundation 
None
Opinion:

There is a reasonable presumption of “ structural soundness” of the original design, which was constructed using accepted, conventional materials and methods. It is my opinion that the above residence is structurally sound and capable of being restored to its original design.

Sincerely,

Emmett Dammon

La. License 8796
