STRUCTURAL INSPECTION

Date:
July 7, 2006

Type:
Residential

For:
Ivan Alfonso





Fax 504-838-2241

Metairie, La 70006




E-mail:

504-616-3655





Ivanalfonso1@yahoo.com

Re: 624 Albert

Mandeville, La.       

History:

The home is approximately 35 years old. It is wood frame construction on a concrete foundation with brick veneer and vinyl siding. The owner contacted Dammon Engineering, Inc. to perform a structural inspection.

Findings:

On inspection of the interior of the house, it was noted that the home has been gutted and is in the process of renovation. 

No exterior damage to the roof, brick veneer or foundation was found.

Conclusion:

It is my professional opinion that this house is in good structural condition and is capable of being restored from Hurricane Katrina damages.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796
This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


