[image: image1.png]DAMMON ENGINEERING, INC.

dammonengineering.com

CONSULTING DESIGN STUDIES EXPERT WITNESS
1095 Florida Ave. P.O. Box 2830 985-649-3832
Stidell, LA 70458 Stidell, LA 70459 FAX 985-641-5950
STRUCTURAL INSPECTION

Date:  July 7, 2006

Type: Residential

For: Ivan Alfonso Fax 504-838-2241
Metairie. La 70006 E-mail:
504-616-3655 Ivanalfonsol#yahoo.com
Re: 624 Albert

Mandeville, La.

History:

The home is approximately 35 years old. It is wood frame construction on a concrete foundation with
brick vencer and vinyl siding. The owner contacted Dammon Engineering, Inc. to perform a structural
ingpection.

Findings:
On inspection of the interior of the house, it was noted that the home has been gutted and is in the
process of renovation.

No exterior damage to the roof, brick veneer or foundation was found.

Conclusion:
It is my professional opinion that this house is in good structural condition and is capable of being
restored from Hurricane Katrina damages.

Sincerely,

Emmett G. (Pete) Dammon, P.E.
Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this buiiding. It does not cover, nor attempts to cover,
any components, items, andfor conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require
the moving of furniture, flooring materials, rugs, fidtures, appliances, or any component-part nailed, bolted, or screwed dawn or shut. No opinions
are expressed regarding conditions which could be discovered only by the disassembly of any component paris, special testing, or removal of any
concealing cbjects.

Inspections are made under normal weather conditions, and are nat apinians of the conditions of the property and/or structure which may exist
under unusuai weather gonditions, such as, buf not firmifed to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.
Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon,
carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stiputated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected. Our liability shall be
fimited to reimbursement of the totat cost of inspection.




