STRUCTURAL INSPECTION

Date:
July 12, 2006

Type:
Commercial

For:
Brewster Stalter


        
504-388-4214

Re: 
740 - 746 Carrondolet

New Orleans, La.       

History:

The building has brick walls (outer walls approximately 12” wide) with wood frame roof rafters on a concrete foundation that houses a  warehouse at 740 Carrondolet and the adjoining office at 746 Carrondolet.

Findings:

Upon inspection of the interior of the warehouse, it was noted that there are minor areas of concern of loose or missing mortar in the outer bricks of the brick walls. These areas should be repointed to maintain the integrity of the wall.

The office at 746 Carrondolet is in good condition.

The front and rear exterior of the building is in good condition. There are shared common walls with adjacent businesses.  The walls are structurally sound.
Analysis:

The property, being the age it is, has maintained its integrity. 

Conclusion:

It is my professional opinion that the building is structurally sound.

Sincerely,

Emmett G. (Pete) Dammon, P.E.
Louisiana License No. 8796
This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


