STRUCTURAL INSPECTION

Thursday, August 02, 2007

For:  Keller Williams                            New Orleans Agent:  Pernice

         Jim Kontier/Mandeville Office

Location:  8000 Red Fish Ave.

                 New Orleans, LA

Structure: 

Wood frame, brick veneer, with cement slab foundation, composition shingle roof with clay tile along the hip ridgelines.

Scope:  

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof, and foundation.  No inspection of the mechanical or electrical systems was performed.

History:

Mr. Kontier contacted Dammon Engineering on behalf of his client to request a structural inspection of the above listed property for the purpose of acquiring insurance.

Findings:

Wood framing appears to be in satisfactory condition.  Roof rafters and wall studs are in good condition.  The brick veener is in very good condition and exhibits no cracks or separation.  The concrete foundation is in good condition with no evidence of settling or cracking.

Conclusion:

I certify the above residence is structurally sound and capable of being restored to its original design.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

