DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

November 29, 2006
STRUCTURAL CERTIFICATION

For:

St. Tammany Parish
Location:
St. Tammany Administrative Complex


520 Old Spanish Trail



Slidell, LA  70458

Construction:
Six story office building
Non-flammable construction – concrete columns and floors
Scope: 

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Building Property Condition Surveys. This report is not an explanation of cause, effect or engineering.

History:

The subject building was damaged by Hurricane Katrina and design of renovations to the building to bring it to excellent condition are in progress.

Findings:

This inspection covered visible components (foundation, wall and roof) and their ability to support the building.


Description




Problem areas
1. Number of levels





Six
2. Interior gutted





Yes (flooded areas)
3. Debris cleared away





Yes

4. Floor framing





N/A

5. Roof framing (concrete deck)



Ok

6. Wall framing (non load bearing)



Ok

7. Any rot or termite damage




No

8. Is structure elevated





No

9. Structural distress or structural damage to frame

None 

10. Failure or deterioration of the foundation 


None

Opinion:

There is a reasonable presumption of  “structural soundness” of the original design, which was constructed using accepted, conventional materials and methods. It is my opinion that the above building is structurally sound and capable of being restored to its original design.

Sincerely,

Emmett Dammon

La. License 8796

