554 Old Spanish Trail

Slidell, LA 70458

Phone: 985-649-5832

dammonengineering.com

info@dammonengineering.com

# Revised Structural Inspection

October 7, 2020

For: 	Suzy Ortiz

Goldwater Bank Mortgage Division

Ref:     23160 Lowe Davis Rd.

Covington La. 70435

We are removing the Recommendations section listed on the report for 23160 Lowe Davis Rd, dated 	September 14th 2020 based on the following findings for this home:

- The home is structurally sound for occupancy and immediate remedies to the piers are not required at this time.

b)  The recommendations were made to indicate preventative measures that could be done to prevent 	      the piers from further settling and erosion as it is minimal.

We usually provide these recommendations for the homeowner to be aware of things they can do to 	prevent problems, but in this case, we are comfortable with removing these so that they are not 	mistaken or misinterpreted for actions that must happen in order for the home to be sound.

Sincerely,

Brian Mistich, P.E.