January 23, 2008

Mr. Don Schenk

12466 Bayou Terrace Dr. N.

Saint Amant, La.

In November of 2007 we verified the elevations of your foundation using a level. Also it was noted that fill was brought in with no compaction testing or a soil analysis and no pile driving report was ever accomplished.  

Findings:

The right side of the home where some cracking is occurring in the brick wall, the brick is hanging over the ledge approximately 1”.

The center of the home was found to have a hairline crack that is running from front to the rear of the home. 

The left front of the home over the garage door and the right side of the home over the bedroom window were noted to have a hairline crack.

Please see the attached drawing noting the differences in the foundation.

Thanks 

