The # for Cloud’s Cement finishing is 504-578-9843

Foundation Inspection

Date of Inspection: October 30, 2007

Ms. Denise Jobe, Director

St. Tammany Parish Department of Permits

21490 Koop Drive

Mandeville, Louisiana 70471

RE:
Mrs. Litha Rogers

Phone: 
985-624-9465

1305 Coffee Street

Mandeville, LA 


Permit No. TK07-1924

History:

Mrs. Litha Rogers contacted Dammon Engineering to request a foundation inspection on a 20’x20’ concrete foundation she recently had poured.  This request is in response to the St. Tammany Parish Permit Department’s requirement that she acquire an engineer’s stamp on this foundation.  The foundation had not been inspected prior to her requesting this inspection.  Mrs. Rogers was not aware of the inspection requirements and stated that the cement contractor, Cloud’s Cement Finishing, did not inform her.

Findings:

The foundation is a 20’x20’ poured concrete slab.  The perimeter has a footer that is 24” deep and 18” wide, reinforced with 4 #5 rebar, spaced two 2/3 the distance down and 2 1/3 the distance from the top of the footer.  There is also an additional footer running through the center of the foundation from the house to the outside end that is also 24” deep and 18” wide with #5 rebar placed in the same positions.  The concrete slab is 8” thick and reinforced with and 6 gage wire mesh.  The concrete was specified to be 3,000 lb mix.  Cloud’s Cement Finishing Company constructed the foundation.

Analysis:

This foundation is constructed above minimum requirements for its purpose and should present no problems when used for the purpose intended, as a living room addition to the residence.

Conclusion:  

It is my professional opinion that the foundation is designed and constructed in excess of the minimum requirements for the use intended.  The inspection was performed by and this report was written by me and is true and correct to the best of my knowledge and belief.  This report shall serve as my affidavit that the foundation has been erected in accordance with the reviewed plans, and with Chapter 4, Table R403.1 provisions of the 2006 International Residential Building Code and that I hereby assume full responsibility for the compliance with all provisions of the technical code for the foundation and all other pertinent laws or ordinances as pertains to the foundation of this structure.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License 8796

