DAMMON ENGINEERING, INC.

dammonengineering.com

ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

June 16, 2010

For:
Ralph Bachemin



1310 Independence Dr.



Slidell, La. 70458

Building Description:

The building is composed of a wood frame/brick veneer, conventional concrete foundation and composition roof shingles.

Scope:

This inspection is limited to a visual inspection of the exterior brick veneer walls and roof system.

History:

Mr. Bachemin contacted Dammon Engineering to perform an inspection on the above referenced residential property that he is selling.  It was noted in a Home Inspection that the prospective purchaser had performed, that the roof had been repaired but not rebuilt to meet code.

Findings:

A visual inspection of the property revealed the following:

1)   Dammon Engineering contacted the City of Slidell Permit Department and no permits are on file to justify there being a newly rebuilt roof structure. The roof rafters appear to be originally spliced at the hip and roofline at the time of construction of the home. There is no indication that the spliced rafter’s have caused a problem. The exterior rooflines are straight and there are no dips that are visible in the roofline.

2) The inspection revealed a crack in the brick veneer near the garage door and a crack in the front porch concrete.  Both the crack in the brick and in the concrete was found to be normal due to expansion and contraction.  The bricks can be re pointed to match the existing mortar and the concrete can be patched to a smooth surface.

Conclusion:

It is my professional opinion that the strength of the roof is adequate. Brick Veneer tends to develop cracks in locations that should have had an expansion joint. Concrete floors and porches also expand and contract; developing cracks that move many times and have been there since the curing process. Neither the cracks in the brick or the concrete pose a problem.

Sincerely,

Emmett Dammon

La. License 8796

