Structural Inspection

Date:
Thursday, June 07, 2007

Location:
2010 First Street


For:
Mr. Mark Herman

Slidell, LA 70458



4618 Palmyra Street

New Orleans, LA 70119

Construction:
One story brick veneer on concrete foundation.

Scope: 

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation of the residence. No inspection of the mechanical or electrical systems was performed. This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys. This report is not an explanation of cause, effect or engineering.

Findings:

The building is partially gutted as of the date of inspection.  Interior wall sections remain, but with sheetrock removed from the lower 4’.  There is no apparent structural damage to the interior walls.  Exterior brick is in very good condition and shows no cracks or signs of settling.  

This inspection covered visible components (foundation, wall and roof and framing). 


Description



Problem areas
1. Number of levels




One

2. Interior gutted




Partial
3. Debris cleaned




Yes

4. Floor framing




Not applicable

5. Roof framing 




OK

6. Wall framing 




OK

7. Any rot or termite damage



No

8. Is structure elevated




No

9. Structural distress or structural damage

No 

10. Failure or deterioration of the foundation 

No

Conclusion:

There is a reasonable presumption of “structural soundness” of the original design, which was constructed using accepted, conventional materials and methods. It is my professional opinion that the above residence is structurally sound and capable of being restored to its original design.

Sincerely,

Emmett G. Dammon, P.E.

La. License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


