DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

Structural Inspection

May 07, 2008

For:
Jim Griswold

Location:
2027 Heather

Slidell, LA 70461

Building Description:
Two story wood frame with brick veneer and vinyl siding, composition roof shingles, first floor is concrete slab, second floor is wood frame.
Scope: 

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof and foundation.  No inspection of the mechanical or electrical systems was performed.

History:
Mr. Griswold contacted Dammon Engineering to request a structural inspection be conducted on the above listed property for the purpose of obtaining insurance.

Findings:

This inspection covered visible components (foundation, wall and roof framing) and their ability to support the home.

1. Number of levels




Two

2. Interior gutted




Yes

3. Debris cleaned




Yes

4. Floor framing




Yes, second floor

5. Roof framing 




Complete

6. Wall framing 




Complete

7. Any rot or termite damage


No*

8. Is structure elevated



No

9. Structural distress or structural damage

None seen

10. Failure or deterioration of the foundation

No 

* No termite inspection was conducted
Analysis: 
This residence is in the final stages of complete renovation and/or repair.  Sheetrock has been replaced as needed, taped and finished.  Kitchen is ready for cabinets and appliances.  Floors are almost ready for tile and/or carpet.

Conclusion: 
This property will be restored to its original condition upon completion of the renovations that are currently well underway.

Sincerely,

Emmett Dammon

La. License 8796

