DAMMON ENGINEERING, INC.
dammonengineering.com
ARCHITECTS


ENGINEERS

CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

Structural Inspection

Thursday, February 21, 2008

For:


Jim Griswold

Property Inspected:
207 Almond Creek Street/

Slidell, Louisiana 70461

Construction:
Wood frame with brick veneer, composition shingle roof, and concrete slab.

Scope:

This inspection is limited to a visual inspection of the interior and exterior walls, floors, roof, and foundation of the residence.  No inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect, or engineering.

History:

Mr. Jim Griswold contacted Dammon Engineering to request a structural inspection of the above residence for the purpose of insuring the property.

Findings:

This is a single-family residence located in a residential neighborhood.  It is not presently occupied. 

     Description




Findings

1.   Number of levels



One

2.   Interior gutted



No

3.   Debris removed



Yes

4.   Floor framing



NA

5.   Roof framing




OK

6.   Wall framing




OK

7.   Signs of rot or termites


None seen*

8.   Structure elevated



No

9.   Signs of structural damage or distress
No

10.  Failure or deterioration of foundation
No

*No termite inspection was conducted.

Analysis:

No structural defects were found during inspection.

Conclusion:

It is my professional opinion that this residence can be restored to its original condition.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

La. License No. 8796

