DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

STRUCTURAL INSPECTION

Date:
September 25, 2008

For:
Hank Cantrelle

2108 Butternut Ave.

Metairie, LA 70001

Cell: (504) 416-3983

Zurich Insurance Co.
P.O. Box 483
Slidell, LA 70459


Attn: Barbara

bfayardins@aol.com
Location:
Residence

2213 Campagna Dr.

Chalmette, LA

Construction: Wood frame with brick veneer, composition shingle, and concrete floors.

Scope:

This inspection is limited to a visual inspection of the interior and exterior walls, ceilings, floors, roof, and foundation of the residence.  No inspection of the mechanical or electrical systems was performed.  This report is as outlined by the National Academy of Building Inspection Engineers Standards and Practices for Residential and Small Building Property Condition Surveys.  This report is not an explanation of cause, effect, or engineering.

History:

Mr. Cantrell contacted Dammon Engineering to perform a structural inspection on the referenced residential property.  Mr. Cantrell stated that water did enter the residence to a level of approximately 5 feet. This building is approximately 30 years old.

Findings:

This inspection covered visible components (foundation, wall and roof framing, and their ability to support the residence.


Description



Findings:

1.  Number of Levels



One

2.  Interior Gutted



Yes

3.  Debris Removed



Yes

4.  Floor Framing



Concrete, OK

5.  Roof Framing



OK

6.  Wall Framing



OK

7.  Signs of Rot or Termites Present *
Not Found

8.  Is Structure Elevated


No

9.  Sign of Structural Damage or Distress
None

10. Failure or deterioration of Foundation
No

Analysis:

This residence flooded when the levy was breached.  The water depth was approximately 5 feet.  It has been gutted and cleaned of debris.  

Conclusion:

This residence is structurally sound and is capable of being restored to its original condition.

*Note:  No termite inspection was performed

Sincerely,

Emmett G. (Pete) Dammon, P.E.

